[doc sps="1.8" acron="uniciencia" jtitle="Uniciencia" stitle="Uniciencia" issn="2215-3470" pissn="2215-3470" eissn="1011-0275" pubname="Universidad Nacional, Costa Rica" license="http://creativecommons.org/licenses/by-nc-nd/3.0" volid="36" issueno="1" dateiso="20221200" season="Jan/Dec" order="47" fpage="738" lpage="745" pagcount="8" doctopic="oa" language="es"]Doi:[doi]10.15359/ru.36-1.47[/doi]

[toctitle]Artículo[/toctitle]

[doctitle language="en"]Accurate Symmetry Calculation with Normalized Dynamic Time Warping Gait Symmetry Ratio[/doctitle]

[doctitle language="es"]Cálculo de la eficiencia de la simetría mediante la relación de simetría de la marcha, aplicando deformación dinámica normalizada en el tiempo[/doctitle]

[doctitle language="pt"]Cálculo da eficiência da simetria usando a relação de simetria da marcha, aplicando deformação dinâmica normalizada ao longo do tempo[/doctitle]

[author role="nd"][fname]Tobias[/fname] [surname]Steinmetzer[/surname] [xref ref-type="aff" rid="aff1"]1[/xref] [authorid authidtp="orcid"]0000-0003-0950-4718[/authorid] [/author]

[author role="nd"][fname]Ingrid[/fname] [surname]Bönninger[/surname] [xref ref-type="aff" rid="aff2"]2[/xref] [authorid authidtp="orcid"]0000-0002-3032-2284[/authorid] [/author]

[author role="nd"][fname]Carlos M.[/fname] [surname]Travieso-González[/surname] [xref ref-type="aff" rid="aff3"]3[/xref] [authorid authidtp="orcid"]0000-0002-4621-2768[/authorid][/author]

[normaff id="aff1" ncountry="Spain" norgname="Universidad de las Palmas de Gran Canaria" icountry="ES"][label]1[/label] [orgname]University of Las Palmas de Gran Canaria[/orgname], [orgdiv2]Institute for Technological Development and Innovation in Communications[/orgdiv2], [orgdiv1]Campus Universitario de Tafira[/orgdiv1], [zipcode]sn, Signals and Communications Department[/zipcode], [country]Spain[/country]. Brandenburg University of Technology Cottbus-Senftenberg, Institute of Medical Technology, Universitätsplatz 1, D-01968 [email]steintob@b-tu.de[/email],   https://orcid.org/0000-0003-0950-4718[/normaff]

[normaff id="aff2" ncountry="Not normalized" norgname="Not normalized" icountry="DE"][label]2[/label] [orgname]Brandenburg University of Technology Cottbus-Senftenberg[/orgname], [orgdiv2]Institute of Medical Technology[/orgdiv2], [orgdiv1]Universitätsplatz [/orgdiv1]1, [zipcode]D-01968 Senftenberg, Germany[/zipcode]. [city]Senftenberg[/city], [country]Germany[/country]. [email]Ingrid.Boenninger@B-TU.De[/email], https://orcid.org/0000-0002-3032-2284[/normaff]

[normaff id="aff3" ncountry="Spain" norgname="Universidad de Las Palmas de Gran Canaria" icountry="ES"][label]3[/label] [orgname]University of Las Palmas de Gran Canaria[/orgname], [orgdiv1]Institute for Technological Development and Innovation in Communications[/orgdiv1], [orgdiv2]Campus Universitario de Tafira[/orgdiv2], [zipcode]sn, Signals and Communications Department[/zipcode], [country]Spain[/country]. *Corresponding author [email]carlos.travieso@ulpgc.es[/email], https://orcid.org/0000-0002-4621-2768[/normaff]

[xmlabstr language="en"][sectitle]Abstract [/sectitle]

[p]In this paper we propose a new method for symmetry calculation in wearable devices. The problem in this domain is that only discrete features such as stride length, stride duration, or duration of gait phases are used for the symmetry calculation. However, this can lead to failures, since the use of features can result in partial loss of information from the time series. From this we present a possibility to calculate the symmetry by using Dynamic Time Warping (DTW). DTW uses the complete time series for the analysis and is therefore independent of certain features.[/p][/xmlabstr]

[kwdgrp language="en"][sectitle]Keywords:[/sectitle] [kwd]Wearable Device[/kwd]; [kwd]Symmetry[/kwd]; [kwd]Time Series[/kwd]; [kwd]Dynamic Time Warping (DTW)[/kwd]; [kwd]Gait Asymmetry[/kwd][/kwdgrp]

[xmlabstr language="es"][sectitle]Resumen [/sectitle]

[p]En este artículo proponemos un nuevo método para el cálculo de la simetría para la resistencia sensible a la fuerza (FSR) en dispositivos portátiles. El problema en este dominio es que solo se utilizan características discretas como la longitud de la zancada, la duración de la zancada o la duración de las fases de la marcha para el cálculo de la simetría. Sin embargo, esto puede conducir a fallas, ya que el uso de funciones puede resultar en una pérdida parcial de información de la serie temporal. A partir de esto, presentamos la posibilidad de calcular la simetría utilizando el método de Dynamic Time Warping (DTW). El DTW utiliza la serie de tiempo completa para el análisis y, por lo tanto, es independiente de ciertas características.[/p][/xmlabstr]

[kwdgrp language="es"][sectitle]Keywords:[/sectitle] [kwd]Dispositivo usable[/kwd]; [kwd]Simetría[/kwd]; [kwd]Series temporales[/kwd]; [kwd]Deformación de tiempo dinámica[/kwd]; [kwd]Resistencia sensible a la fuerza.[/kwd][/kwdgrp]

[xmlabstr language="pt"][sectitle]Resumo [/sectitle]

[p]Neste artigo propomos um novo método para cálculo de simetria para resistência sensível à força (FSR) em dispositivos portáteis. O problema neste domínio é que apenas são utilizadas características discretas, como comprimento da passada, duração da passada ou duração da fase da marcha para o cálculo de simetria. No entanto, isso pode levar a falhas, pois o uso de funções pode resultar em perda parcial de informações da série temporal. A partir disso, apresentamos a possibilidade de calcular a simetria utilizando o método Dynamic Time Warping (DTW). O DTW usa toda a série temporal para a análise e, portanto, é independente de determinados recursos.[/p][/xmlabstr]

[kwdgrp language="pt"][sectitle]Palavras-chave:[/sectitle] [kwd]dispositivo vestível[/kwd]; [kwd]simetria[/kwd]; [kwd]séries temporais[/kwd]; [kwd]Dynamic Time Warping[/kwd]; [kwd]resistência sensível à força.[/kwd][/kwdgrp]

[hist]Received: [received dateiso="20211118"]Nov/18/2021[/received]

Accepted: [accepted dateiso="20220214"]Feb/14/2022 [/accepted]

Published: Nov/1/2022[/hist]

[xmlbody][sec sec-type="intro"][sectitle]Introduction[/sectitle]

[p]A characteristic of the gait is the symmetry in the motion of the body. A symmetrical gait represents a high quality of life. There are regions of the body pathologically limited to motor dysfunction. This leads to an asymmetrical gait pattern ([xref  ref-type="bibr" rid="r13"]Lauziere et al., 2014[/xref]).[/p]

[p]But first the question arises: What is a symmetrical gait? The motion of the right and left foot are identical in a symmetrical motion, but shifted by a half period.[/p]

[p]The assessment of gait symmetry can be divided into two major areas, namely discrete based and time series based area ([xref  ref-type="bibr" rid="r21"]Yang et. al., 2011[/xref]; [xref  ref-type="bibr" rid="r14"]Liao et. al., 2008[/xref]; [xref  ref-type="bibr" rid="r7"]Hassan et. al., 2014[/xref]). The first area of symmetry evaluation is discrete-based. These methods are often used with wearable devices ([xref  ref-type="bibr" rid="r15"]Patterson et. al., 2010[/xref]; [xref ref-type="bibr" rid="r18"]Steinmetzer et. al., 2020[/xref]b). Discrete-based methods include Symmetry Ratio ([xref  ref-type="bibr" rid="r1"]Andres & Stimmel, 1990[/xref]), Robinson Index ([xref  ref-type="bibr" rid="r8"]Herzog et al., 1989[/xref]), Gait asymmetry ([xref  ref-type="bibr" rid="r16"]Plotnik et al., 2007[/xref]) and Symmetry Angle [xref ref-type="bibr" rid="r22"](Zifchock et al., 2011[/xref]). In all these methods, symmetry is calculated from various parameters such as stride length, stride duration, swing phase duration, and stance phase duration.[/p]

[p]We want to introduce a new way to calculate symmetry for wearable devices. The outstanding feature of our method is that the complete time series of the gait cycle is used for the symmetry analysis. This makes the calculation of the symmetry more accurate than using discrete-based methods for symmetry calculation. An important part of the method is Dynamic Time Warping (DTW) [xref ref-type="bibr" rid="r12"](Keogh & Ratanamahatana, 2005[/xref]).[/p]

[p]In section 2 we give a short theoretical background to the gait cycle, introduce the data set, and employed hardware. In section 3 we explain the calculation of symmetry with regards to the use of wearables by current methods and our DTW-based method. Afterwards we present the results of the calculation with all methods in section 4. In section 5 we discuss the advantages and disadvantages of the different methods and a preview of future work. The last section 6 gives a summary of the work.[/p]

[/sec][sec sec-type="materials"][sectitle]Material[/sectitle]

[subsec][sectitle]Dataset[/sectitle]

[p]For the calculation of the gait symmetry, we use force sensor data. For this we use a public dataset. This consists of 93 patients with idiopathic PD, and a control group of 73 subjects. The database includes the vertical ground reaction force records of the subjects as they walked at their usual, self-selected pace for approximately 2 minutes on level ground, see [xref  ref-type="table" rid="t1"]Table 1[/xref]. Underneath each foot were placed 8 sensors (Ultraflex Computer Dyno Graphy, Infotronic Inc.) that measure force (in Newtons) as a function of time. The output of each of these 16 sensors has been digitized and recorded at 100 samples per second, and the records also include two signals that reflect the sum of the 8 sensor outputs for each foot. For details about the data format, see ([xref  ref-type="bibr" rid="r5"]Goldberger et al., 2000[/xref]).[/p]

[/subsec][/sec][sec sec-type="methods"][sectitle]Methodology[/sectitle]

[subsec][sectitle]Stride detection[/sectitle]

[p]The focus of this work is not on stride detection. For this reason, a simple method is used. As soon as the sum of all force sensors is greater or equal to 100 N, this is considered the beginning of the stance phase. [/p]

[p]Conversely, swing phases are detected as soon as the sum of all force sensors is less than 100 N, see [xref ref-type="fig" rid="f1"]Fig. 1 [/xref](a).[/p]

[p]The large gaps in [xref ref-type="fig" rid="f1"]Fig. 1 [/xref](b) correspond to the turning of the person at the end of the corridor. By using interquartile range (IQR) the gaps are cut out ([xref  ref-type="bibr" rid="r19"]Steinmetzer et. al., 2020[/xref]).[/p]

[tabwrap id="t1"][label]Table 1[/label]. [caption]Demographics of the data set[/caption]

| [table][tbody][tr][td align="center"]Study Group[/td] | [td align="center"]Count[/td] | [td align="center"]Male/Female[/td] | [td align="center"](mean ± std)[/td][/tr] |
| --- | --- | --- | --- |
| [tr][td align="center"]Total PD[/td] | [td align="center"]93[/td] | [td align="center"]58/35[/td] | [td align="center"]66.30 ± 9.50[/td][/tr] |
| [tr][td align="center"]Control[/td] | [td align="center"]73[/td] | [td align="center"]40/33[/td] | [td align="center"]63.66 ± 8.64[/td][/tr][/tbody][/table] |

[fntable id="TFN1"]Note: Derived from research.[/fntable][/tabwrap]

[figgrp id="f1"]

[graphic href="?a47v36n1"][/graphic]

[label]Figure 1[/label]. [caption]Force signal of gait with start and end of the stand and swing phases.[/caption][/figgrp]

[/subsec][subsec][sectitle]Discrete symmetry[/sectitle]

[p]Discrete symmetry calculation by using various parameters is used for analysis of gait with wearable devices ([xref  ref-type="bibr" rid="r10"]Jelén et. al., 2008[/xref]; [xref  ref-type="bibr" rid="r17"]Sadeghi et. al., 2000[/xref]; [xref  ref-type="bibr" rid="r2"]Ashhar et. al., 2017[/xref]). For comparison with our method, we introduce the methods: Ratio index (RI), Symmetry index (SI), Gait asymmetry (GA), and Symmetry angle (SA), see equations 1 to 4.[/p]

[p]For the calculation of discrete symmetry, we use several features of the right and left foot. The smaller feature is xmin and the bigger xmax. In this way, we get a value between zero and one. Xmin and Xmax are features consisting of swing phase duration, stand phase duration, and stride duration.[/p]

[p]Xmin is the larger value of feature i in the left and right stride.[/p]

[p]Ratio Index. To determine the RI, the central values of the foots are divided by each other.[/p]

[p][graphic href="?a47v36n1"][/graphic]  (1)[/p]

[p]Symmetry Index. The SI gives the difference between kinematic and kinetic parameters of the limbs. We have adjusted the value so that 1 represents a symmetrical gait and 0 asymmetry.[/p]

[p][graphic href="?a47v36n1"][/graphic]  (2)[/p]

[p]Gait Asymmetry. Gait Asymmetry is similar to the Ratio Index ([xref  ref-type="bibr" rid="r4"]Crea et al., 2014[/xref]; [xref  ref-type="bibr" rid="r20"]Yang and Hsu, 2010[/xref]). However, the logarithm was still calculated from the result.[/p]

[p][graphic href="?a47v36n1"][/graphic] (3)[/p]

[p]Symmetry Angle. SA measures the relationship between two different limbs. Two exactly symmetrical parameters form an angle of 45º. We have corrected the value, a symmetric value is again 1 and an asymmetric 0.[/p]

[p][graphic href="?a47v36n1"][/graphic]  (4)[/p]

[/subsec][subsec][sectitle]Normalized	DTW	symmetry: Preprocessing[/sectitle]

[p]Normally DTW is used as a distance measurement. The greater the result, the greater the distance between the two signals. The more asymmetrical is the gait cycle. To better interpret the results of symmetry, we normalize them. A value close to 1 shows a symmetrical motion and a value close to 0 an asymmetrical motion. To enable stride symmetry calculation, the values would first have to be standardized and normalized. For the standardization we use the z-transformation, see equation 5. Through this standardization, the expected value of the data is = 0 and the standard deviation s = 1.[/p]

[p][graphic href="?a47v36n1"][/graphic]	 (5)[/p]

[p]For standardization, the times series of all recordings of all subjects are concatenated with each other to form a uniform model for standardization.[/p]

[p]To ensure a value range between 0 and 1 we use min-max normalization[/p]

[p][graphic href="?a47v36n1"][/graphic]  (6)[/p]

[p]To calculate the Normalized Dynamic time warping symmetry ratio, we perform a phase shift. Thus, both strides are directly above each other. For the calculation of symmetry, both signals are at the beginning of the same gait cycle phase.[/p]

[/subsec][subsec][sectitle]Normalized DTW[/sectitle]

[p]For the calculation of similarity of  symmetry of the force data of the right and left foot, we use DTW. In contrast to Euclidean distance, this method can correct time warp. The advantage of DTW is that the time series does not need to have the same length, because the optimal alignment from one signal to the other is used. The algorithm starts with the calculation of a distance matrix D, where the force data of both time series the left and right foot y and x are used as input. For the calculation of the distances the following equation is used [xref ref-type="bibr" rid="r12"](Keogh & Ratanamahatana, 2005[/xref]).[/p]

[p][graphic href="?a47v36n1"][/graphic]..(7)[/p]

[p]Then the distance must be divided by the maximum signal length[/p]

[p][graphic href="?a47v36n1"][/graphic]   (8)[/p]

[p]In order to get a result of 1 for symmetry and 0 for asymmetry, the 1 minus result is calculated by[/p]

[p][graphic href="?a47v36n1"][/graphic] (9)[/p]

[/subsec][/sec][sec sec-type="results"][sectitle]Results[/sectitle]

[subsec][sectitle]Dataset[/sectitle]

[p]In [xref ref-type="table" rid="t2"]table 2[/xref] the results of the dataset from section 2.1 are shown. The study subjects were separated according to control group and Parkinson disease. It is noticeable that the results of the discrete symmetry calculation are similar to the DTW. We have calculated the average value [graphic href="?a47v36n1"][/graphic] and the standard deviation s.[/p]

[tabwrap id="t2"][label]Table 2[/label]. [caption]Results of the dataset for features Ratio Index (RI), Symmetry Index (SI), Gait Asymmetry (GA), Symmetry Angle (SA), and Normalized Dynamic Time Warping Symmetry (NDTWS)[/caption]

| [table][thead][tr][th align="center"]Study[/th] | [th align="center"]RI [graphic href="?a47v36n1"][/graphic] ± s[/th] | [th align="center"]SI [graphic href="?a47v36n1"][/graphic] ± s[/th] | [th align="center"]GA[graphic href="?a47v36n1"][/graphic] ± s[/th] | [th align="center"]SA[graphic href="?a47v36n1"][/graphic] ± s[/th] | [th align="center"]NDTWS ± s[/th][/tr] |
| --- | --- | --- | --- | --- | --- |
| [/thead][tbody][tr][td align="center"]Total CO[/td] | [td align="center"]0.955 ± 0.016[/td] | [td align="center"]0.949 ± 0.021[/td] | [td align="center"]0.947 ± 0.025[/td] | [td align="center"]0.984 ± 0.006[/td] | [td align="center"]0.960 ± 0.018[/td][/tr] |
| [tr][td align="center"]Total PD[/td] | [td align="center"]0.949 ± 0.027[/td] | [td align="center"]0.942 ± 0.039[/td] | [td align="center"]0.938± 0.055[/td] | [td align="center"]0.982 ± 0.011[/td] | [td align="center"]0.960 ± 0.016[/td][/tr][/tbody][/table] |

[fntable id="TFN2"]Note: Derived from research.[/fntable][/tabwrap]

[/subsec][subsec][sectitle]Theoretical cases[/sectitle]

[p]In this section we present the results obtained for the theoretical signals of both feet by using discrete and DTW methods. In [xref ref-type="fig" rid="f2"]figure 2[/xref] the DTW of the following signals is shown: (a) regular stride, (b) identical strides, (c) amplitude shifted strides, (d) uniform amplitude shifted, (e) Heel strike and toe off with same force on left foot, right foot lesser force, and (f) Left foot has heel strike more force then toe off, right foot[/p]

[figgrp id="f2"]

[graphic href="?a47v36n1"][/graphic]

[label]Figure 2[/label]. [caption]Results of DTW symmetry. (a) regular stride time series; (b) identical stride of right and left foot; (c) amplified, shifted strides; (d) uniform amplitude shifted; (e) heel strike and toe off with same force on left foot, right foot lesser force; (f) left foot has heel strike more force then toe off, right foot has toe off more force then heel strike.[/caption][/figgrp]

[p]has toe off more force then heel strike. The results for these signals are shown in the [xref  ref-type="table" rid="t3"]Table 3[/xref]. It can be seen that the discrete methods cannot correctly calculate the signals (c), (d), (e), and (f).[/p]

[/subsec][/sec][sec sec-type="discussion"][sectitle]Discussion[/sectitle]

[p]In most of the papers dealing with symmetry, stride length, stride duration, and different gait phases are used to calculate the ratio of the left and right leg ([xref  ref-type="bibr" rid="r6"]Hannink et al., 2018[/xref]; [xref  ref-type="bibr" rid="r11"]Jiang et al., 2018[/xref]). In contrast, our symmetry calculation considers the complete time series.[/p]

[p]Our results show RI, SI, GA, SA, and DTW to be very similar for the given data set. The results confirm the findings of other studies [xref ref-type="bibr" rid="r3"](Blazkiewicz et al., 2014[/xref]; [xref  ref-type="bibr" rid="r9"]Hubble et al., 2015[/xref]).[/p]

[p]However, the weaknesses of the discrete symmetry calculation are visible in the results disclosed in section 4.2. If the parameters were chosen incorrectly in the symmetry calculation, asymmetries of the gait may not have been visible. We were able to demonstrate this phenomenon in the second part of the results. In figure 2 (c), (e), and (f) the discrete symmetry was always 1.0, but the signals were different in amplitude. These differences could not be measured. By using the presented method, the whole signal was used for the calculation of symmetry. Thus, it was possible to calculate not only the symmetry differences in the time but also in the amplitude domain.[/p]

[/sec][sec sec-type="conclusions"][sectitle]Conclusion[/sectitle]

[p]For discrete symmetry calculation, a wide spectrum of features is important for a robust symmetry calculation. With our proposed method this is not necessary.[/p]

[p]We were able to demonstrate that our[/p]

[p]method is a useful extension for the calculation of gait symmetry with wearable sensors. In future works it should be proved how symmetry calculation using DTW works in multidimensional signals.[/p]

[/sec][sec][sectitle]Acknowledgement[/sectitle]

[p]This article was created under the bilateral Erasmus+ Agreement between University of Las Palmas de Gran Canaria (Spain) and Brandenburg University of Technology Cottbus-Senftenberg (Germany).[/p]

[subsec][sectitle]Conflict of Interest[/sectitle]

[p]The authors declare no competing interests.[/p]

[tabwrap id="t3"][label]Table 3[/label]. [caption]Results of the theorical cases[/caption]

| [table][thead][tr][th align="center"]Signal[/th] | [th align="center"]RI[/th] | [th align="center"]SI[/th] | [th align="center"]GA[/th] | [th align="center"]SA[/th] | [th align="center"]DTWS[/th][/tr] |
| --- | --- | --- | --- | --- | --- |
| [/thead][tbody][tr][td align="center"]a[/td] | [td align="center"]0.978[/td] | [td align="center"]0.978[/td] | [td align="center"]0.993[/td] | [td align="center"]0.978[/td] | [td align="center"]0.99[/td][/tr] |
| [tr][td align="center"]b[/td] | [td align="center"]1.0[/td] | [td align="center"]1.0[/td] | [td align="center"]1.0[/td] | [td align="center"]1.0[/td] | [td align="center"]1.0[/td][/tr] |
| [tr][td align="center"]c[/td] | [td align="center"]0.978[/td] | [td align="center"]0.978[/td] | [td align="center"]0.993[/td] | [td align="center"]0.978[/td] | [td align="center"]0.78[/td][/tr] |
| [tr][td align="center"]d[/td] | [td align="center"]-[/td] | [td align="center"]-[/td] | [td align="center"]-[/td] | [td align="center"]-[/td] | [td align="center"]0.01[/td][/tr] |
| [tr][td align="center"]e[/td] | [td align="center"]1.0[/td] | [td align="center"]1.0[/td] | [td align="center"]1.0[/td] | [td align="center"]1.0[/td] | [td align="center"]0.92[/td][/tr] |
| [tr][td align="center"]f[/td] | [td align="center"]1.0[/td] | [td align="center"]1.0[/td] | [td align="center"]1.0[/td] | [td align="center"]1.0[/td] | [td align="center"]0.98[/td][/tr][/tbody][/table] |

[fntable id="TFN3"]Note: Derived from research.[/fntable][/tabwrap]

[/subsec][subsec][sectitle]Author contribution statement[/sectitle]

[p]All the authors declare that the final version of this paper was read and approved.[/p]

[p]The total contribution percentage for the conceptualization, preparation, and correction of this paper was as follows: T.S. 34%, I.B. 33 %, and C.M.T. 33%[/p]

[/subsec][subsec][sectitle]Data availability statement[/sectitle]

[p]The data supporting the results of this study will be made available by the corresponding author T.S. upon reasonable request.[/p][/subsec][/sec][/xmlbody]

[refs][sectitle]References[/sectitle]

[ref id="r1" reftype=“journal"][authors role="nd"][pauthor][surname]Andres[/surname], [fname]R. O.[/fname][/pauthor], & [pauthor][surname]Stimmel[/surname], [fname]S. K.[/fname][/pauthor] [/authors]([date dateiso="19900000" specyear="1990"]1990[/date]). [arttitle]Prosthetic alignmenteffectsongaitsymmetry:acasestudy. [/arttitle][source]Clinical biomechanics[/source], [volid]5[/volid]([issueno]2[/issueno]), [pages]88-96[/pages]. https://doi.org/[pubid idtype="doi"]10.1016/0268-0033(90)90043-6[/pubid][/ref]

[ref id="r2" reftype="book"][authors role="nd"][pauthor][surname]Ashhar[/surname], [fname]K.[/fname][/pauthor]; [pauthor][surname]Soh[/surname], [fname]C. B.[/fname][/pauthor]; & [pauthor][surname]Kong[/surname], [fname]K. H.[/fname][/pauthor][/authors] ([date dateiso="20170000" specyear="2017"]2017[/date]). [chptitle]A wearable ultrasonic sensor network for analysis of bilateral gait symmetry. [/chptitle]In [source]2017 39th Annual International Conference of the IEEE Engineering in Medicine and Biology Society (EMBC)[/source] (pp. [pages]4455-4458[/pages]). [pubname]IEEE[/pubname]. https://doi. org/[pubid idtype="doi"]10.1109/EMBC.2017.8037845[/pubid][/ref]

[ref id="r3" reftype=“journal"][authors role="nd"][pauthor][surname]Blazkiewicz[/surname], [fname]M.[/fname][/pauthor]; [pauthor][surname]Wiszomirska[/surname], [fname]I.[/fname][/pauthor]; & [pauthor][surname]Wit[/surname], [fname]A.[/fname][/pauthor][/authors] ([date dateiso="20140000" specyear="2014"]2014[/date]). [arttitle]Comparison of four methods of calculating the symmetry of spatial-temporal parameters of gait.[/arttitle] [source]Acta of bioengineering and biomechanics[/source], [volid]16[/volid]([issueno]1[/issueno]).[/ref]

[ref id="r4" reftype=“journal"][authors role="nd"][pauthor][surname]Crea[/surname], [fname]S.[/fname][/pauthor]; [pauthor][surname]Cipriani[/surname], [fname]C.[/fname][/pauthor]; [pauthor][surname]Donati[/surname], [fname]M.[/fname][/pauthor]; [pauthor][surname]Carrozza[/surname], [fname]M. C.[/fname][/pauthor]; & [pauthor][surname]Vitiello[/surname], [fname]N.[/fname][/pauthor][/authors] ([date dateiso="20140000" specyear="2014"]2014[/date]). [arttitle]Providing time-discrete gait information by wearable feedback apparatus for lower-limb amputees: usability and functional validation. [/arttitle] [source]IEEE Transactions on Neural Systems and Rehabilitation Engineering[/source], [volid]23[/volid]([issueno]2[/issueno]), [pages]250-257[/pages]. https://doi.org/[pubid idtype="doi"]10.1109/TNSRE.2014.2365548[/pubid][/ref]

[ref id="r5" reftype=“journal"][authors role="nd"][pauthor][surname]Goldberger[/surname], [fname]A. L.[/fname][/pauthor]; [pauthor][surname]Amaral[/surname], [fname]L. A. N.[/fname][/pauthor]; [pauthor][surname]Glass[/surname], [fname]L.[/fname][/pauthor]; [pauthor][surname]Hausdorff[/surname], [fname]J. M.[/fname][/pauthor]; [pauthor][surname]Ivanov[/surname], [fname]P. Ch.[/fname][/pauthor]; [pauthor][surname]Mark[/surname], [fname]R. G.[/fname][/pauthor]; [pauthor][surname]Mietus[/surname], [fname]J. E.[/fname][/pauthor]; [pauthor][surname]Moody[/surname], [fname]G. B.M.[/fname][/pauthor]; [pauthor][surname]Peng[/surname], [fname]C.-K.[/fname][/pauthor]; & [pauthor][surname]Stanley[/surname], [fname]H. E.[/fname][/pauthor][/authors] ([date dateiso="20000000" specyear="2000"]2000[/date]). [arttitle]PhysioBank, PhysioToolkit, and PhysioNet[/arttitle]. [source]Circulation[/source], [volid]101[/volid]([issueno]23[/issueno]). https://doi.org/[pubid idtype="doi"]10.1161/01.cir.101.23.e215[/pubid][/ref]

[ref id="r6" reftype=“journal"][authors role="nd"][pauthor][surname]Hannink[/surname], [fname]J.[/fname][/pauthor]; [pauthor][surname]Kautz[/surname], [fname]T.[/fname][/pauthor]; [pauthor][surname]Pasluosta[/surname], [fname]C. F.[/fname][/pauthor]; [pauthor][surname]Barth[/surname], [fname]J.[/fname][/pauthor]; [pauthor][surname]Schülein[/surname], [fname]S.[/fname][/pauthor]; [pauthor][surname]Gaßmann[/surname], [fname]K.-G.[/fname][/pauthor]; [pauthor][surname]Klucken[/surname], [fname]J.[/fname][/pauthor]; & [pauthor][surname]Eskofier[/surname], [fname]B. M.[/fname][/pauthor][/authors] ([date dateiso="20180000" specyear="2018"]2018[/date]). [arttitle]Mobile Stride Length Estimation With Deep Convolutional Neural Networks.[/arttitle] [source]IEEE Journal of Biomedical and Health Informatics[/source], [volid]22[/volid]([issueno]2[/issueno]), [pages]354-362[/pages]. https:// doi.org/[pubid idtype="doi"]10.1109/JBHI.2017.2679486[/pubid][/ref]

[ref id="r7" reftype=“journal"][authors role="nd"][pauthor][surname]Hassan[/surname], [fname]M.[/fname][/pauthor]; [pauthor][surname]Kadone[/surname], [fname]H.[/fname][/pauthor]; [pauthor][surname]Suzyki[/surname], [fname]K.[/fname][/pauthor]; & [pauthor][surname]Sankai[/surname], [fname]Y.[/fname][/pauthor][/authors] ([date dateiso="20140000" specyear="2014"]2014[/date]). [arttitle]Wearable gait measurement system with an instrumented cane for exoskeleton control. [/arttitle][source]Sensors[/source], [volid]14[/volid]([issueno]1[/issueno]), [pages]1705-1722[/pages].[/ref]

[ref id="r8" reftype=“journal"][authors role="nd"][pauthor][surname]Herzog[/surname], [fname]W.[/fname][/pauthor]; [pauthor][surname]Nigg[/surname], [fname]B. M.[/fname][/pauthor]; [pauthor][surname]Read[/surname], [fname]L. J.[/fname][/pauthor]; & [pauthor][surname]Olsson[/surname], [fname]E.[/fname][/pauthor][/authors] ([date dateiso="19890000" specyear="1989"]1989[/date]). [arttitle]Asymetries in ground reaction force patterns in nomral human gait.[/arttitle] [source]Med Sci Sports Exerc[/source], [volid]21[/volid]([issueno]1[/issueno]), [pages]110-114[/pages]. https://doi. org/[pubid idtype="doi"]10.1249/00005768-198902000-00020[/pubid][/ref]

[ref id="r9" reftype=“journal"][authors role="nd"][pauthor][surname]Hubble[/surname], [fname]R. P.[/fname][/pauthor], [pauthor][surname]Naughton[/surname], [fname]G. A.[/fname][/pauthor], [pauthor][surname]Silburn[/surname], [fname]P. A.[/fname][/pauthor], & [pauthor][surname]Cole[/surname], [fname]M. H.[/fname][/pauthor] [/authors]([date dateiso="20150000" specyear="2015"]2015[/date]). [arttitle]Wearable sensor use for assessing standing balance and walking stability in people with Parkinson’s disease: a systematic review.[/arttitle] [source]PloS one[/source], [volid]10[/volid]([issueno]4[/issueno]). https://doi.org/[pubid idtype="doi"]10.1371/journal.pone.0123705[/pubid][/ref]

[ref id="r10" reftype=“journal"][authors role="nd"][pauthor][surname]Jelén[/surname], [fname]P.[/fname][/pauthor]; [pauthor][surname]Wit[/surname], [fname]A.[/fname][/pauthor]; [pauthor][surname]Dudzinski[/surname], [fname]K.[/fname][/pauthor]; & [pauthor][surname]Nolan[/surname], [fname]L.[/fname][/pauthor][/authors] ([date dateiso="20080000" specyear="2008"]2008[/date]). [arttitle]Expressing gait-line symmetry in able-bodied gait[/arttitle]. [source]Dynamic Medicine[/source], [volid]7[/volid]([issueno]1[/issueno]), [pages]17[/pages]. https://doi.org/[pubid idtype="doi"]10.1186/1476-5918-7-17[/pubid][/ref]

[ref id="r11" reftype="book"][authors role="nd"][pauthor][surname]Jiang[/surname], [fname]X.[/fname][/pauthor]; [pauthor][surname]Tory[/surname], [fname]L.[/fname][/pauthor]; [pauthor][surname]Khoshnam[/surname], [fname]M.[/fname][/pauthor]; [pauthor][surname]Chu[/surname], [fname]K. H. T.[/fname][/pauthor]; & [pauthor][surname]Menon[/surname], [fname]C.[/fname][/pauthor][/authors] ([date dateiso="20180000" specyear="2018"]2018[/date]). [chptitle]Exploration of Gait Parameters Affecting the Accuracy of Force Myography-Based Gait Phase Detection. [/chptitle]In [source]2018 7th IEEE International Conference on Biomedical Robotics and Biomechatronics (Biorob) [/source](pp. [pages]1205-1210[/pages]). https://doi.org/[pubid idtype="doi"]10.1109/biorob.2018.8487790[/pubid][/ref]

[ref id="r12" reftype=“journal"][authors role="nd"][pauthor][surname]Keogh[/surname], [fname]E. J.[/fname][/pauthor], & [pauthor][surname]Ratanamahatana[/surname], [fname]C. A.[/fname][/pauthor] [/authors]([date dateiso="20050000" specyear="2005"]2005[/date]). [arttitle]Exact indexing of dynamic time warping. Knowl.[/arttitle] [source]Inf. Syst[/source], [volid]7[/volid]([issueno]3[/issueno]). https://doi.org/[pubid idtype="doi"]10.1007/s10115-004-0154-9[/pubid][/ref]

[ref id="r13" reftype=“journal"][authors role="nd"][pauthor][surname]Lauziere[/surname], [fname]S.[/fname][/pauthor], [pauthor][surname]Betschart[/surname], [fname]M.[/fname][/pauthor], [pauthor][surname]Aissaoui[/surname], [fname]R.[/fname][/pauthor], & [pauthor][surname]Nadeau[/surname], [fname]S.[/fname][/pauthor] [/authors]([date dateiso="20140000" specyear="2014"]2014[/date]). [arttitle]Understanding spatial and temporal gait asymmetries in individuals post stroke.[/arttitle] [source]Int J Phys Med Rehabil[/source], [volid]2[/volid]([issueno]3[/issueno]), [pages]201[/pages]. https://doi.org/[pubid idtype="doi"]10.4172/2329-9096.1000201[/pubid][/ref]

[ref id="r14" reftype=“journal"][authors role="nd"][pauthor][surname]Liao[/surname], [fname]F.[/fname][/pauthor], [pauthor][surname]Wang[/surname], [fname]J.[/fname][/pauthor], & [pauthor][surname]He[/surname], [fname]P.[/fname][/pauthor] [/authors]([date dateiso="20080000" specyear="2008"]2008[/date]). [arttitle]Multi-resolution entropy analysis of gait symmetry in neurological degenerative diseases and amyotrophic lateral sclerosis[/arttitle]. [source]Medical engineering & physics[/source], [volid]30[/volid]([issueno]3[/issueno]), [pages]299-310[/pages]. https://doi.org/[pubid idtype="doi"]10.1016/j.medengphy.2007.04.014[/pubid][/ref]

[ref id="r15" reftype=“journal"][authors role="nd"][pauthor][surname]Patterson[/surname], [fname]K. K.[/fname][/pauthor], [pauthor][surname]Gage[/surname], [fname]W. H.[/fname][/pauthor], [pauthor][surname]Brooks[/surname], [fname]D.[/fname][/pauthor], [pauthor][surname]Black[/surname], [fname]S. E.[/fname][/pauthor], & [pauthor][surname]Mcllroy[/surname], [fname]W. E.[/fname][/pauthor] [/authors]([date dateiso="20100000" specyear="2010"]2010[/date]). [arttitle]Evaluation of gait symmetry after stroke: a comparison of current methods and recommendations for standardization. [/arttitle][source]Gait & posture[/source], [volid]31[/volid]([issueno]2[/issueno]), [pages]241-246[/pages]. https://doi.org/[pubid idtype="doi"]10.1016/j.gaitpost.2009.10.014[/pubid][/ref]

[ref id="r16" reftype=“journal"][authors role="nd"][pauthor][surname]Plotnik[/surname], [fname]M.[/fname][/pauthor], [pauthor][surname]Giladi[/surname], [fname]N.[/fname][/pauthor], & [pauthor][surname]Hausdorff[/surname], [fname]J. M.[/fname][/pauthor] [/authors]([date dateiso="20070000" specyear="2007"]2007[/date]). [arttitle]A new measure for quintifying the bilateral coordination of human gait: effects of aging and Parkinson’s disease. [/arttitle][source]Experimental brain research[/source], [volid]181[/volid]([issueno]4[/issueno]), [pages]561-570[/pages]. https://doi.org/[pubid idtype="doi"]10.1007/s00221-007-0955-7[/pubid][/ref]

[ref id="r17" reftype=“journal"][authors role="nd"][pauthor][surname]Sadeghi[/surname], [fname]H.[/fname][/pauthor], [pauthor][surname]Allard[/surname], [fname]P.[/fname][/pauthor], [pauthor][surname]Prince[/surname], [fname]F.[/fname][/pauthor], & [pauthor][surname]Labelle[/surname], [fname]H.[/fname][/pauthor] [/authors]([date dateiso="20000000" specyear="2000"]2000[/date]). [arttitle]Symmetry and limb dominance in able-bodied gait: a review.[/arttitle] [source]Gait & posture[/source], [volid]12[/volid]([issueno]1[/issueno]), [pages]34-45[/pages]. https://doi.org/[pubid idtype="doi"]10.1016/s0966-6362(00)00070-9[/pubid][/ref]

[ref id="r18" reftype=“journal"][authors role="nd"][pauthor][surname]Steinmetzer[/surname], [fname]T.[/fname][/pauthor], [pauthor][surname]Bönninger[/surname], [fname]I.[/fname][/pauthor], [pauthor][surname]Reckhardt[/surname], [fname]M.[/fname][/pauthor], [pauthor][surname]Reinhardt[/surname], [fname]F.[/fname][/pauthor], [pauthor][surname]Erk[/surname], [fname]D.[/fname][/pauthor], & [pauthor][surname]Travieso[/surname], [fname]C. M.[/fname][/pauthor] [/authors]([date dateiso="20200000" specyear="2020"]2020[/date]). [arttitle]Comparison of algorithms and classifiers for stride detection using wearables. [/arttitle][source]Neural Computing and Applications[/source], [volid]32[/volid]([issueno]24[/issueno]), [pages]17857-17868[/pages]. https://doi.org/[pubid idtype="doi"]10.1007/s00521-019-04384-6[/pubid][/ref]

[ref id="r19" reftype=“journal"][authors role="nd"][pauthor][surname]Steinmetzer[/surname], [fname]T.[/fname][/pauthor], [pauthor][surname]Wilberg[/surname], [fname]S.[/fname][/pauthor], [pauthor][surname]Bönninger[/surname], [fname]I.[/fname][/pauthor], & [pauthor][surname]Travieso[/surname], [fname]C. M.[/fname][/pauthor] [/authors]([date dateiso="20200000" specyear="2020"]2020[/date]). [arttitle]Analyzing gait symmetry with automatically synchronized wearable sensors in daily life. [/arttitle][source]Microprocessors and Microsystems[/source], [volid]77[/volid], [pages]103118[/pages]. https://doi.org/[pubid idtype="doi"]10.1016/j.micpro.2020.103118[/pubid][/ref]

[ref id="r20" reftype=“journal"][authors role="nd"][pauthor][surname]Yang[/surname], [fname]C. C.[/fname][/pauthor], & [pauthor][surname]Hsu[/surname], [fname]Y. L.[/fname][/pauthor] [/authors]([date dateiso="20100000" specyear="2010"]2010[/date]). [arttitle]A review of accelerometry-based wearable motion detectors for physical activity monitoring. [/arttitle][source]Sensors[/source], [volid]10[/volid]([issueno]8[/issueno]), [pages]7772-7788[/pages]. https://doi.org/[pubid idtype="doi"]10.3390/s100807772[/pubid][/ref]

[ref id="r21" reftype="book"][authors role="nd"][pauthor][surname]Yang[/surname], [fname]C. C.[/fname][/pauthor], [pauthor][surname]Hsu[/surname], [fname]Y. L.[/fname][/pauthor], [pauthor][surname]Lu[/surname], [fname]J. M.[/fname][/pauthor], [pauthor][surname]Shih[/surname], [fname]K. S.[/fname][/pauthor], & [pauthor][surname]Chan[/surname], [fname]L.[/fname][/pauthor][/authors] ([date dateiso="20110000" specyear="2011"]2011[/date]. June). [chptitle]Real-time gait cycle parameters recognition using a wearable motion detector.[/chptitle] In [source]Proceedings 2011 International Conference on System Science and Engineering [/source](pp. [pages]498-502[/pages]). [pubname]IEEE[/pubname]. https://doi.org/[pubid idtype="doi"]10.1109/icsse.2011.5961954[/pubid][/ref]

[ref id="r22" reftype=“journal"][authors role="nd"][pauthor][surname]Zifchock[/surname], [fname]R. A.[/fname][/pauthor], [pauthor][surname]Davis[/surname], [fname]I.[/fname][/pauthor], [pauthor][surname]Higginson[/surname], [fname]J.[/fname][/pauthor], & [pauthor][surname]Royer[/surname], [fname]T.[/fname][/pauthor] [/authors]([date dateiso="20080000" specyear="2008"]2008[/date]). [arttitle]The symmetry angle: a novel, robust method of quantifying asymmetry.[/arttitle] [source]Gait & posture[/source], [volid]27[/volid]([issueno]4[/issueno]), [pages]622-627[/pages]. https://doi.org/[pubid idtype="doi"]10.1016/j.gaitpost.2007.08.006[/pubid][/ref][/refs][/doc]